## Sheet1
INSTITUTION
COLLECTION NAME
COLLECTION TYPE (eg. pinned insects, fossils, mammal skins)
ASSESSMENT COMPILED BY
10 AGENTS OF DETERIORATION | STANDARDS | BUILDING | STOREROOM | CABINETS/SHELVES | CONTAINERS | LINING / PACKAGING | NOTES
PHYSICAL FORCES (breakage of specimens) | Sound construction of storeroom (ceiling, walls, floor, windows and door/s); windows and doors with good seal when closed; sturdy and stable shelves bolted to floor or wall; drawers that slide open easily; padding for delicate specimens on shelves and in boxes; no specimens directly on floor; shelves with barrier; no overloading of shelves; no overcrowding or drawers, cabinets, boxes or other containers
RELATIVE HUMIDITY | Stable humidity at set level between 45-55%; humidity recording system in storeroom; ventilation system
TEMPERATURE | Stable temperature, maintained at set level between 16 and 22°C; temperature loggers in storeroom
FIRE | Fire door at entry to storeroom; smoke detectors linked to alarm and responders; fire suppression system appropriate for coillection type; metal shelving or cabinets; light switches outside of store room. No flamable substances (paper, boxes, chemicals) stored in the collection storeroom.
LIGHT & UV | Storeroom kept dark (blinds on all windows or no windows) or specimens always in closed cabinets
POLLUTANTS | Glass bottles for wet specimens; stainless steel or fibreglass tanks for large specimens; archival quality paper / foam lining or padding or boxes or mounting. Specimens on open shelves have dust covers
PESTS | Storeroom with windows and doors that seal completely; cabinets and drawers seal tightly
WATER | Specimens, cabinets and shelving raised off floor (minimum of 10cm); no leaks in pipes or ceiling.
CRIMINALS | Access control (electronic or manual lock) for building and storeroom
DISASSOCIATION | Shelves, cabinets, drawers labelled / numbered