## Sheet1
INSTITUTION
COLLECTION NAME
TAXON / TAXA REPRESENTED BY COLLECTION
NUMBER OF SPECIMENS / LOTS
LOCATION WHERE COLLECTION STORED
STAFFING
STORAGE ENVIRONMENT | DESCRIPTION - what? | QUANTITIES - how many? | NOTES - any challenges? Special measures or actions? | NEEDS - what is needed to meet standard?
TEMPERATURE (what is the temp set at? What system of temp control? Are there any problems?)
RELATIVE HUMIDITY (what ids the RH set at? What system of humity control is there? Are there any problems?)
FIRE SUPPRESSION SYSTEM (what type of fire suppression system is there?)
FIRE DOORS (does the entrance to the storeroom have fire doors? What type of entrance door is there? Is it fire proof?)
HEIGHT OF ELECTRICAL PLUGS (are there electrical sockets / plug points in the storeroom? How many?
LIGHT SWITCHES OUTSIDE STOREROOM (where are the light switches for the storeroom?)
VENTILATION SYSTEM (is there a ventilation system for the storeroom? What kind of system?)
WELL SEALED WINDOWS & DOORS - do all windows and doors close and seal tightly or are there any gaps / areas where dust and pests can enter?
SOURCES OF PESTS - are there any bird nests / pigeon droppings or plants growing over the outside of the building near the collection storeroom?
ARE THERE CAPETS in the collection storeroom?
LIGHT PREVENTION (Does the storeroom have windows? How many? Are they covered by block out blinds or curtains? Are the window coverings kept closed at all times?)
FLOOD RISKS - are there any water pipes running through the storeroom? Is the storeroom in the basements? Are there any leaks in the ceiling? Are there any signs of damp on the walls?
SPACE - is there a large table / workspace where specimens can be handled?Is there enough space to move between cabinets and shelves?
SPACE - Is there office space in the collection storeroom?
SPACE - Are there any consumables stored in the collection room (boxes, papers, papckaging? Or field equipment? Or living plants or animals?
STORAGE INFRASTRUCTURE | DESCRIPTION - what? | QUANTITIES - how many? | NOTES - any challenges? Special measures or actions? | NEEDS - what is needed to meet standard?
SHELVES / CABINETS (metal, wood, combination of metal and wood? how many of each?)
CABINETS OR SHELVES FIRMLY ATTACHED / NO RISK OF FALLING
Are any cabinets or shelves at floor level or are they all raised at least 10cm off the floor?
Are cabinets or drawers tightly sealed?
DRAWERS - wooden or other materials? Are there any problems with opening drawers?
STORAGE CONTAINERS / MATERIALS | DESCRIPTION - what? | QUANTITIES - how many? | NOTES - any challenges? Special measures or actions? | NEEDS - what is needed to meet standard?
BOXES - are specimens stored in boxes? What kind of boxes?
ARRANGEMENT OF SPECIMENS ON SHELVES - are any specimens not stored in boxes / other containers? If there are loose specimens are they organised so that they are not touching other specimens?
ACCESS - can you easily access all specimens? (not piled too high / easily visible without removing other specimens?
Are any specimens stored directly on the floor?
ARCHIVAL QUALITY - paper, board, plastics / cushioning? What is used and have you checked it it meets archival standards?
DUST / DIRT PROTECTION - are open shelves and loose specimens covered by dust sheets?
CUSHIONING - are all specimens on open shelving on polyethylene padding? Are specimens in boxes padded / cushioned?
PEST / MOULD/ DUST MANAGEMENT | DESCRIPTION - what? | QUANTITIES - how many? | NOTES - any challenges? Special measures or actions? | NEEDS - what is needed to meet standard?
DECONTAMINATION OF NEW / INCOMING MATERIAL: - how is this dealt with?
PEST MONITORING - how is this done?
TREATING INFESTATIONS - how is this done?
FUMIGATION - how is this done, by who and what pesticide is used?
Any other pest management processes?
What is the most likely SOURCE OF INFESTATION of pests?
WHAT PESTS have been identified in the collection?
HOW MANY PEST INFESTATIONS HAVE BEEN RECORDED IN THE LAST 5 YEARS?
MOULD - how are inspections done?
MOULD TREATMENT - how is this done?
WHO IS RESPONSIBLE FOR PEST MANAGEMENT FOR THE COLLECTION AND FOR THE BUILDING?
How often are specimens DUSTED?
Who is responsible for cleaning specimens?
LABELS | DESCRIPTION - what? | QUANTITIES - how many? | NOTES - any challenges? Special measures or actions? | NEEDS - what is needed to meet standard?
MATERIAL USED FOR LABELS
MATERIAL USED FOR PRINTING / WRITING OF LABELS
STATE OF LABELS - PAPER
STATE OF LABELS - PRINT
LAST DOCUMENTED CHECK OF LABEL STATE
ANY MAJOR RELABELLING PROGRAMME OVER THE LAST 5 YEARS
MONITORING PROGRAMME | YES / NO | NOTES
PESTS / MOULD
DUST ON SPECIMENS / IN STOREROOM
LABELS
RELATIVE HUMIDITY
TEMPERATURE
FIRE SUPPRESSION SYSTEM
STANDARD OPERATING PROCEDURE DOCUMENTS (detailed step by step process) | YES / NO | NOTES
PEST / MOULD MONITORING
TREATING PEST / MOULD INFESTATION
DECONTAMINATION OF INCOMING MATERIALS
PRODUCTION OF LABELS AND RELABELLING PROCESS
TEMPERATURE & RH MONITORING & RESPONSES
CLEANING SPECIMENS / STORAGE INFRASTRUCTURE / STOREROOM
OTHER - PROVIDE TITLES
STANDARDS DOCUMENTS | YES / NO | NOTES
STORAGE ENVIRONMENT (including temperature, humidity, ventilation, fire suppression and prevention etc)
STORAGEINFRASTRUCTURE AND CONTAINERS / MATERIALS
LABELLING MATERIALS
OTHERS - PROVIDE TITLES